## Motorlist (hidden)
Motorlist
Remarks:Above data based on catalogue values, binding data on request.
ABB ref. no.
Customer: | Date:
Handled by:
Project name: | File name:
Customer ref. | Case:
Location: | Revision: | Page:
LV Motors

## Datasheet (hidden)
ABB |  |  | Technical Data Sheet
Electrical Machines
|  | Project |  | Location
Department/Author |  | Customer name |  | Customer ref. |  | Item name
Our ref. |  | Rev/Changed by | Date of issue | Saving ident |  | Pages
No. | Definition |  | Data | Unit | Remarks
1 | Product
2 | Product code
3 | Type/Frame
4 | Mounting
5 | Rated output PN |  |  | kW
6 | Service factor
7 | Type of duty
8 | Rated voltage UN |  |  | V | ± 5 % (IEC 60034-1)
9 | Rated frequency fN |  |  | Hz | ± 2 % (IEC 60034-1)
10 | Rated speed nN |  |  | r/min
11 | Rated current IN |  |  | A
12 | No-load current |  |  | A
13 | Starting current Is/IN
14 | Nominal torque TN |  |  | Nm
15 | Locked rotor torque Ts/TN
16 | Maximum torque Tmax/TN
17 | Minimum torque Tmin/TN
18 | Speed at minimum torque |  |  | r/min
| Load characteristics (Acc. to IEC 60034- 2) |  | Load % | Current A | Efficiency % | Power factor
19 |  |  | 100
20 |  |  | 75
21 |  |  | 50
22 |  |  | Start
23 | Maximum starting time from hot DOL |  |  | s
24 | Maximum starting time from cold DOL |  |  | s
25 | Insulation class / Temperature class |  | F
26 | Warm-up time constant
27 | Cool down time constant
28 | Ambient temperature |  |  | °C
29 | Altitude |  |  | m.a.s.l.
30 | Enclosure |  | IP 55
31 | Cooling system |  | IC 411 self ventilated
32 | Bearing DE/NDE
33 | Lubrication / lubricant
34 | Sound pressure level (LP dB(A) 1m) |  |  | dB(A) | +3dB(A)
35 | Moment of inertia J = ¼ GD² |  |  | kgm²
36 | Balancing
37 | Vibration class
38 | Terminal box arrangement
39 | Terminal box entries; no, dimens.
40 | Number of power terminals
41 | Direction of rotation |  | CW or CCW
42 | Weight of rotor |  |  | kg
43 | Total weight of motor
44 | Dimension drawing no.
45 | Additional information
Ex-motors
46 | Type of protection
47 | Certification No.
48 | tE time |  |  | s
Option Variant Codes / Definition
50
50
51
52
53
54
55
Remarks:

## loadcurves (hidden)
[6 empty] | Current |  | Cosinus
ABB |  | Load Curves
Electrical Machines
LV Motors
Department/Author | Date of issue | Lang | Catalogue revision | Our ref. | Item name |  | Efficiency
Customer ref. | Customer name | Saving ident | Case | Rev/Changed by | Pages
Product
Type/Frame
Product code
Rated output PN
Type of duty
Voltage (V) |  | Current IN (A) |  | Power factor at PN
Frequency (Hz) |  | Speed (r/min) |  | Efficiency (%) at PN

## start up curves (hidden)
[6 empty] | Torque load | TMotorUn | TMotorU2 | IMotorUn | IMotorU2
ABB |  | Starting Curves
Electrical Machines
LV Motors
Department/Author | Date of issue | Lang | Catalogue revision | Our ref. | Item name
Customer ref. | Customer name | Saving ident | Case | Rev/Changed by | Pages
Type of product
Type/Frame
Product code |  |  | Frequency (Hz)
Rated output PN |  | kW | Rated current IN |  | A
Type of duty |  |  | Starting from:
Jmotor (kgm2) |  | Voltage (V) 100% |  | Voltage (V)
Jload (kgm2) |  | Ts/TN |  | Ts/TN
Load speed (r/min) |  | Starting time (s) |  | Run-up time (s)
TN (Nm) |  | Speed (r/min) |  | Speed (r/min)
Tload (Nm) |  | IS/IN |  | IS/IN
Number of cont. starts |  | TMAX/TN |  | TMAX/TN
Max. number of starts

## 2.1
ABB Motors and |  |  | Technical Data Sheet - DOL
Generators
|  | Project |  | Location
Department/Author |  | Customer name |  | Customer ref. |  | Item name
1
Our ref. |  | Rev/Changed by | Date of issue | Saving ident |  | Pages
|  | A | 15.8.2019 | cq395315_motsize.xls |  | 1(3)
No. | Definition |  | Data | Unit | Remarks
1 | Product |  | TEFC, 3-phase, squirrel cage induction motor
2 | Product code |  | 3GKP 133 220-ASJ |  | Calc. ref. | 3GZF021013-858
3 | Type/Frame |  | M3KP 132SMB 6
4 | Mounting |  | IM1001, B3(foot)
5 | Rated output PN |  | 3 | kW
6 | Service factor |  | 1
7 | Type of duty |  | S1(IEC) 100%
8 | Rated voltage UN |  | 400 | VY | ± 5 % (IEC 60034-1)
9 | Rated frequency fN |  | 50 | Hz | ± 2 % (IEC 60034-1)
10 | Rated speed nN |  | 975 | r/min
11 | Rated current IN |  | 8,0 | A
12 | No-load current |  | 5.2 | A
13 | Starting current Is/IN |  | 5.5 |  | Meet IEC 60034-12, N
14 | Nominal torque TN |  | 29.4 | Nm
15 | Locked rotor torque TS/TN |  | 1.8
16 | Maximum torque Tmax/TN |  | 2.9
17 | Minimum torque Tmin/TN |  | 1,5
18 | Speed at minimum torque |  | 180 | r/min
| Load characteristics (IEC 60034-2-1:2014) |  | Load % | Current A | Efficiency % | Power factor
19 | PLL determined from residual loss |  | 100 | 8,0 | 85,1 / IE2 | 0.63
20 |  |  | 75 | 7,2 | 84 | 0.54
21 |  |  | 50 | 6,2 | 81 | 0.43
22 |  |  | Start | 44 |  | 0.34
23 | Maximum starting time from hot |  | 10 | s
24 | Maximum starting time from cold |  | 18 | s
25 | Insulation class / Temperature class |  | F / B
26 | Ambient temperature |  | 60 | °C
27 | Altitude |  | 1000 | m.a.s.l.
28 | Enclosure |  | IP55
29 | Cooling system |  | IC411 self ventilated
30 | Bearing DE/NDE |  | 6208-2Z/C3 - 6208-2Z/C3
31 | Type of Grease
32 | Sound pressure level (LP dB(A) 1m) |  | 57 | dB(A) | at load
33 | Moment of inertia J = ¼ GD2 |  | 0,02991472 | kg-m2
34 | Balancing
35 | Vibration class
36 | Position of terminal box |  | Top
37 | Terminal box entries; no, dimens.
38 | Number of power terminals
39 | Direction of rotation |  | CW or CCW
40 | Weight of rotor |  | 17 | kg
41 | Total weight of motor |  | 97 | kg
42 | Dimension drawing no.
43
44
45
Ex-motors
46 | Type of protection |  | Ex db eb IIB T4 Gb
47 | Certification No.
48
Option Variant Codes / Definition
49 | +002 Restamping voltage, frequency and output, continuous duty (AT=60°C)
50 | +461 Ex d(e) design, Group II C
51 | +068 Light alloy metal fan
52 | +554 - Cast iron flange for cable glands drilled and tapped according to order 1 x M25 + 1 x M20
53 | +999 - Standard cable gland, Ex d IIC, non-armoured cable. 1 x M25 + 1 x M20 (KBJ150819C03)
Remarks:
Data based on situation 7.8.2019
All data subject to tolerances in accordance with IEC
Guaranteed values on request

## start up curves 2sp (hidden)
[6 empty] | Torque load | TMotorUn | TMotorU2 | IMotorUn | IMotorU2
ABB |  | Starting Curves
Electrical Machines
LV Motors
Department/Author | Date of issue | Lang | Catalogue revision | Our ref. | Item name
Customer ref. | Customer name | Saving ident | Case | Rev/Changed by | Pages
Type of product
Type/Frame
Product code |  |  | Frequency (Hz)
Rated output PN |  | kW | Rated current IN |  | A
Type of duty |  |  | Starting from:
Jmotor (kgm2) |  | Voltage (V) 100% |  | Voltage (V)
Jload (kgm2) |  | Ts/TN |  | Ts/TN
Load speed (r/min) |  | Starting time (s) |  | Run-up time (s)
TN (Nm) |  | Speed (r/min) |  | Speed (r/min)
Tload (Nm) |  | IS/IN |  | IS/IN
Number of cont. starts |  | TMAX/TN |  | TMAX/TN
Max. number of starts

## EqDiag (hidden)
[6 empty] | Current |  | Cosinus
ABB |  | Diagram for equivalent-
Electrical Machines |  | star connected motor
LV Motors | Project |  | Location
Department/Author | Customer name |  | Customer ref. |  | Item name |  | Efficiency
Our ref. | Rev/Changed by | Date of issue | Saving ident |  | Pages
Product
Type/Frame
Product code
Rated output PN |  | kW
Duty
Actual Motor:
Voltage (V) |  | Current IN (A) |  | Power factor at PN
Frequency (Hz) |  | Speed (r/min) |  | Efficiency (%) at PN
Equivalent motor Volt/phase |  | R1s |  | X1s
|  | Xmagnetizing |  | Rfriction+iron
|  | X2 r nom |  | R2 r nom
|  | X2 start |  | R2 start
|  | X2 max |  | R2 max